ENVIRONMENTAL ENGINEERING

Course Code:	XCT 3002

Credit:		4

L-T-P:		3-1-0

Prerequisite:	Nil

COURSE OBJECTIVE

This course provides knowledge of water supply, sewerage, and wastewater systems. It emphasizes water quality characterization, design of water and wastewater treatment units, aerobic and anaerobic processes, and sludge management. Students will also learn to evaluate the environmental impacts of sewage discharge on land and water bodies.

COURSE OUTCOMES

After successfully completing the course, the students will be able to

CO 1:   Comprehend the water supply and sewerage system,

CO 2: Characterize physical, chemical and biological parameters responsible for water pollution,

CO 3: Plan and design water treatment units,

CO 4: Plan and design aerobic wastewater treatment systems,

CO 5: Plan and design anaerobic wastewater and sludge treatment systems, and

CO 6: Assess the impact of sewage discharge on land and water bodies.

COURSE DETAILS

UNIT 1: water supply and sewerage system

Different types of water, Sources of water, Components of water supply system, Population forecasting, Estimation of water demand, Pipeline hydraulics, Components of sewerage network, hydraulics of sewers.

UNIT 2: Characterization of physical, chemical and biological parameters responsible for water pollution

Physical, chemical and biological characteristics of water and wastewater and their significance, Water borne disease, Drinking water standards - IS 10500 2012.

UNIT 3: Planning and designing of water treatment units

Introduction to water treatment system, schematic of water treatment plant for groundwater and surface water,

Aeration, coagulation, softening: lime-soda process and ion exchange process, flocculation, sedimentation,

filtration – slow sand and rapid gravity, disinfection - chlorination and ozonation

UNIT 4: Planning and designing of aerobic wastewater treatment systems

Wastewater Treatment Systems

Primary: Screening, grit chamber, skimming tanks, sedimentation.

Secondary: Basics of microbiology, classification of secondary treatments.

Aerobic Wastewater Treatment Systems

Suspended growth - Activated sludge process, oxidation pond, aerated lagoon

Attached growth - trickling filter, rotating biological contactor.

Tertiary: Removal of nitrogen and phosphorus.

UNIT 5: Planning and designing of anaerobic wastewater and sludge treatment systems

Wastewater treatment options for non-sewered areas, Septic tank, Imhoff tank and their design considerations.

Sludge, Sludge characteristics, Sludge processing – thickening, digestion, disinfection, dewatering, Sludge digestion process, designing of sludge digestion tank.

UNIT 6: Assessing the impact of sewage discharge on land and water bodies

Self-purification of rivers, oxygen sag curve, Streeter Phelps equation, Wastewater disposal standards

Textbooks

- S.K. Garg, Environmental Engineering (Vol. I) Water Supply Engineering, Khanna Publishers, 36th Edition, 2022, ISBN-13: 978-81-7409-120-8.

- S.K. Garg, Environmental Engineering (Vol. II) Sewage Disposal and Air Pollution Engineering, Khanna Publishers, 42nd Edition, 2022, ISBN-13: 978-81-7409-230-4.

- H.S. Peavy, D.R. Rowe, & G. Tchobanoglous, Environmental Engineering, McGraw Hill, 7th Edition, 2017, ISBN-13: 978-9351340263.

Reference Books

- Metcalf & Eddy, Inc., Wastewater Engineering: Treatment and Reuse, Tata McGraw- Hill, 5th Edition, New Delhi, 2017, ISBN-10: 9780070495395.

- L.D. Benefield, J.F. Judkins and B.L. Weand, Process chemistry for water and wastewater treatment, Prentice - Hall Series, 1st Edition, 1981.

- M.L. Davis & D.A. Cornwell, Introduction to Environmental Engineering, Tata McGraw Hill, 4th Edition, 2010.

- T.D. Reynolds & P.A. Richards, Unit Operations and Processes in Environmental Engineering, PWS Publishing Company, Cengage Learning, 2nd Edition, 2009.

- CPHEEO, Manual on water supply and Treatment, Ministry of Urban Development, GoI, New Delhi, 1999.

- CPHEEO, Manual on sewerage and sewage treatment systems, Ministry of Urban Development, GoI, New Delhi, 2013.

- CPHEEO, Manual on municipal solid waste management, Ministry of Urban Development, GoI, New Delhi, 2016.