Heating, Ventilation, Air Conditioning (HVAC) Systems and their Applications

Course Code: XCT 3012

Credit: 4

L-T-P: 3-1-0

Prerequisite: Thermodynamics, Refrigeration and Air-conditioning

COURSE OBJECTIVE:

The objective of “Heating, Ventilation, Air Conditioning (HVAC) Systems and their Applications” focuses on the principles, design, and operation of systems that provide thermal comfort and indoor air quality in buildings. It covers the fundamentals of heating and cooling load estimation, psychrometrics, air distribution, refrigeration cycles, and HVAC components such as compressors, condensers, and air-handling units. Students learn about system design, duct and piping layouts, control mechanisms, and energy-efficient technologies including VRF, VAV, and building automation systems. The course also emphasizes sustainability, green building practices, and compliance with ASHRAE/ISHRAE standards, preparing students to apply HVAC concepts in residential, commercial, and industrial applications.

COURSE OUTCOMES:

At the end of the course, students will be able to:

CO-1: Recognize the fundamentals of HVAC.

CO-2: Explain the processes in the psychrometric chart.

CO-3: Compute the change in moist air properties in a process.

CO-4: Comprehend the components and their interaction in various air conditioning systems.

CO-5: Calculate the load and selecting the components for the predefined requirement.

CO-6: Design the air and fluid distribution systems in HVAC.

COURSE DETAILS

Introduction

Brief history of air-conditioning, requirements and scope of HVAC systems, working substance and fundamental laws

Psychrometry

Properties of air-vapour mixtures, Psychometric chart, Law of air-water vapour mixture, Enthalpy of mixture, simple heating and cooling, Humidification, Dehumidification mixture of air streams.

Ventilation and Fresh Air

Oxygen supply, Heat removal, Moisture removal, Air-motion, purity of air, Thermodynamics of human body, Comfort and comfort chart, Effective temperature, factors governing optimum effective temperature.

Classification of HVAC systems

Split and packaged units, Heat pump, Dx central, Chilled water central, Evaporative cooling, Building heating systems.

Load calculation

Processes in air conditioning, Summer air conditioning, Winter air conditioning and Year round air conditioning, Heat gains, Cooling load and heating load estimates, Building requirement and energy conservation in air conditioned Buildings, usage of ASHRAE hand book for finding heat gain.

Duct Design

Air distribution, Total, static and velocity pressure, friction losses, dynamic losses, ESP calculation, Design procedures (i) Equal friction method, Velocity reduction method, Static regain method, Distribution of air in clean rooms.

Pipe Design

Losses in pipes, Losses in valves and fittings, Losses in bends, valves, pumps, Pipe network, Code and standards.

HVAC components

Cooling and dehumidifying coils, Air-washer, Cooling tower, fans, AHU, Air-filter.

Drafting

Study and perpetration of floor drawing, Roof drawing, Sectional drawing, Symbols, Drafting software.

Textbook:

- 1. A course in Refrigeration and Air Conditioning, S.C. Arora and S. Domkundwar, Dhanpat Rai & Co (P) Ltd, 2013.

- Refrigeration and Air Conditioning, C. P. Arora, McGraw Hill Education, 3rd Edition.

Reference Books:

- Refrigeration and Air Conditioning, R. C. Arora, PHI Learning Pvt. Ltd., 2013.

- Refrigeration and Air Conditioning, Manohar Prasad, New Age International, 2003.

- Refrigeration and air conditioning, Stocker and Jones.

- Principle of Refrigeration, Dossat, Pearson Education India.

- ASHRAE Hand Book.